[image: image1.png]v TAM M I Quality Comes From Detail



 

                       TL01 Screed mortar 

DS-EN-TL01-0329         

PRODUCT NAME

TL01Screed Mortar

COLOR

Grey 
Manufacturer

TM Building Materials Pvt. Ltd.
Plot No.416, FIE, Patparganj Industrial Estate, Delhi-110092, India
Tel: +91-11-43020132
Website: www.thmaterials.com
Product description
TAMMY TL01 SCREED MORTAR is prepared with high grade cement, sand and selected additives, has the features of high strength, no sanding, low shrinkage and easy to use etc.
FEATURES AND BENEFITS

· Easy to use, just mix with water

· High bond strength

· High compressive and flexural strengths

· Good adhesion to substrate

· Consistent quality

· Green environmental protection

USES

It is applicable for the substrate leveling of various ground surfaces and tile installations as harsh cushion layer. 
SUITBLE SUBSTRATES
· Concrete
· Existing ceramic tile and stone
PACKAGING

40kg/bag
SHELF LIFE
Factory sealed containers of this product are guaranteed to be of first quality for 3 months if stored at temperatures greater than 5°C and less than 35°C.
* High humidity will reduce the shelf life of bagged products.
LIMITATIONS AND CAUTIONS

· Keep out of the reach of children.

· Dilute proportionally with water during the preparation of screed mortar, no additional water or dry mortar shall be allowed to add into the hydrated mortar.

· The environment temperature of application should not be lower than 5℃ or higher than 35℃.

· Protect from rain and moisture in the process of product storage and transportation, do not use any agglomerated products affected with damp.

· Do not mix this product with any other products.

· Foot traffic shall be allowed at least 1 day after the completion of screed mortars under normal circumstance.
TECHINICAL DATA (Meets or exceeds GB/T 25181-2010 standard. Water amount is 15%）

	Test
	Specification
	Test Result

	Water-retention /%
	≥88
	89

	Setting Time /h
	3 - 9
	5.7

	2h Consistency Loss /%
	≤30
	14

	Freezing Resistance
	Strength Loss Rate/%
	≤25
	21

	
	Mass Loss Rate/%
	≤5
	4


Results shown are typical but reflect test procedures used. Actual field performance will depend on installation methods and site condition

APPLICATION

tools

Low-speed Mixer, Mixing Container, Rubber Hammer, Flat Hardboard etc.….
Substrate Preparation

1. Remove debris, residual mortars, excessive mortar and dusts etc. from the substrate surface.

2. The loose or degeneration areas on the substrate should be pretreated, and the application substrate must be firm and solid.

3. Priming Coat Treatment：

1) Ordinary concrete substrate (rough surface): There should be no delamination or peeling problem on the surface. Roller brush one or two coats of liquid primer in advance depending on the situation of base concrete (the thickness shall be no less than 1mm if surface roughening is required, and there should be no omission. Carry out the construction of screed coat after primer curing).

2) Ordinary concrete substrate (smooth surface): One coat of liquid primer should be roller brushed advance, and then carry out the surface roughening treatment (the substrate must be fully covered).

3) For those substrates with higher water absorption, such as ceramsite concrete, foam concrete and composite light aggregate underlayment etc., brush two coats of special liquid primer respectively in horizontal and vertical directions prior to the construction.

Note: Follow the standard of liquid primer for its usage and subsequent construction time interval.
Material Preparation

1. Mechanical stirring is recommended for the preparation of wet mortars. Generally add water first and then add dry materials, stop operation 2-3 minutes after the first time stirring, cure for at least 3 minutes and then restart the mixer, it is ready to use after stirring another 1-2 minutes. If mixing manually in the site, use after the mixture is well stirred.

2. The recommended ratio of water and material for ground leveling is approximately (0.14-0.15):1 (proportion by weight), depending on the site environment. The ratio of water and material may vary with the difference of temperature and humidity, but the mixture should not be too thin.

3. The well-mixed screed mortar for floors should be used up within 2 hours.

4. The well-mixed mortar cannot be stirred again with water, and it is strictly prohibited to remix and use the cured mortar by adding water.

Application Procedures

1. Substrate preparation;

2. Determine the elevation (based on the ground leveling situation and decorative finish requirements, the thickness of floor mortars shall be no less than 20mm), make the mortar cakes, and set the expansion joints around.

3. Leveling application: Spread screed mortars on the ground with a trowel, the application of which should be completed at one time, with its laying thickness slightly higher than that of the ash cakes. Then take corresponding measures to make the mortar compact depending on the screed coat thickness (it is recommended to use a plate vibrator in the case of larger thickness, manage to compact mortars provided that the site condition is unsuitable for vibrator operation; rub vigorously with a wood trowel to compact the mortar directly if the thickness is smaller). Next, make the surface smooth with a scraping bar, to achieve the designed flatness requirements. The maximum thickness of ground leveling shall not exceed 50mm.

4. Surface treatment: Carry out the surface construction according to the subsequent requirements. Normally rub to smooth the surface with a wood or plastic trowel if it shall not be used as the final one, and the surface trowelling is often unnecessary; but if it shall be used as the final surface, then the surface should be a trowel finish and the trowelling time must be controlled, do not spread cement mortars or trowel by dipping water.

5. When the area is more than 36 m2 or the unilateral length is greater than 6m, set cutting joints 5-7 days after the completion of ground leveling, to avoid irregular cracks appearing on the screed mortar surface. Snap the ink lines for cutting in a uniform way, to endure all cutting joints neat and straight. The expansion joints can also be arranged prior to the construction.

6. Curing: Start moisture curing (even without omission) immediately after the surface mortar has become setting and hardening, and the curing time shall not be less than 7 days.

7. If used for the installation of tiles, mix it to the state of stiff screed mortar (clump when clenching hand but loose when unclenching hand), place screed mortars on the substrate surface, the thickness shall depend on the substrate flatness but shall be no less than 20mm; knock on the tile surface with applicable tools like a rubber hammer until the tile surface is flat and without the voice of empty drum. Then spread the floor tile adhesive fully on the back of ceramic tiles, control the thickness within 3-5mm, and knock with a rubber hammer once again until the tile surface is flat.

Availability and price

availability
TAMMY products are available worldwide.

For distributor information:

Tel: +91-11-43020132
Email: india@thmaterials.com

Price

Contact a TAMMY representative / Authorized dealer in your area.

Technical service

TECHNICAL ASSISTANCE

Information is available by calling the TAMMY Technical Service at:


Tel: +91-11-43020132
Email: india@thmaterials.com

Ds and msds
DS and MSDS are available on TAMMY website: www.thmaterials.com
TM Building materials PVT. ltd.

©2016 All Copyrights Reserved.
[image: image2.png]TAMMY Building Materials Co_, Ltd.  www thmaterials.com



The datasheet is subject to change without notice. For the latest version, visit www.thmaterials.com


